## Slide 1: 138/69 kV Substation Design
By: Kaitlyn Ziska, Brian Mace ,Brandon Kaas, Justin Fischbach, Robert Huschak, and Salvador Salazar-Garcia
Burns & McDonnell
Prof. McCalley
http://sdmay20-15.sd.ece.iastate.edu/

## Slide 2: Project Vision:
Substation Location
Project Purpose
Project Goals

## Slide 3: Project Concept:

## Slide 4: Cost Estimation & Purpose
Cost component was not included in the scope
  Would be accounted for in actual design process
  Substation designed with cost in mind

## Slide 5: Functional Requirements: Potential Risks & Mitigation:
One-Line Diagram
Plan Views
  Sectional Views
Wiring and Schematics
Lightning Study
AC Analysis
DC Analysis
Grounding Study

## Slide 6: Project Plan – Schedule/Milestones
Separated into 6 major tasks
  One Line - derived from Scope Document
  Plan View - derived from One Line
  Lightning Study - derived from Plan View
  AC Study - derived from Plan View
  DC Study - derived from Plan View
  Schematics – derived from Protection & Controls Document (P&C)
  Wiring - derived from Schematics and P&C Document
Milestones based on these tasks discussed with Burns and McDonnell

## Slide 7: Project Plan – Schedule/Milestones

## Slide 8: AUTOCAD
Used AutoCAD 2020
Industry Standard

## Slide 9: System Design
3 Breaker-Ring bus configuration
High side: 138kV
Low side: 69kV
3 line exits, 1 transformer
Relaying for protection

## Slide 10: Design Concepts
One Line Diagram

## Slide 11: System Design: Physical
Breakers isolated by disconnect switches
Space allotment for future expansion
Bus support
Bus-Ring tie in
Lightning Protection

## Slide 13: System Design: Protection and Controls
AC/DC study
Schematics
Wiring

## Slide 14: AC & DC Studies
Calculation for system SSVT
  Includes worst case scenario of summer and winter conditions
Protection for power loss at substation
  Calculations performed to sustain system for 8 hrs. after loss of power

## Slide 15: Schematics & Wiring Diagrams

## Slide 16: Engineering Standards and Design Practices
Burns & McDonnell Scope
Burns & McDonnell Example Cells and Drawings
IEEE Standards
  IEEE 485-2010 Recommended Practice for Sizing Lead-Acid Batteries for Stationary Applications
  IEEE 998-2012I EEE Guide for Direct Lightning Stroke Shielding of Substations

## Slide 17: System level testing/Acceptance testing

## Slide 18: Prototyping One Line
Phase 1
Initial One-Line

## Slide 19: Prototyping - Plan Views
Revision 1
Spacing Concerns forced changes to the One-Line
Revision 2
Needed more Dimensions and added a Drive Path around substation
Revision 3
Final Submission before starting lightning study
Adjusted Section Cut placement

## Slide 20: Prototyping - Section Cuts
Revision 1
Initial Design from plan view
Missing Dimensions and bus supports
Revision 2
Added Needed structures
Still needs more dimensions
Change section cut
Revision 3
Changed section view to other line exit
Added Shield Wire and equipment labels

## Slide 21: Lightning Study

## Slide 22: AC Study
Component Power
Breakdown
Summer/Winter

## Slide 23: DC Study
Break down worst case failure
Time based loads
Calculate battery size and charger

## Slide 24: Prototyping-System Schematics
Relay Protection Schematic

## Slide 25: Prototyping-Wiring
Due to current situation time did not allow for a complete system design

## Slide 26: Final Submission
10 drawing files
  1-One Line
  1-Plan View
  1-Section Cut
  1-Lightning Study
  5-Schematics
  1-Panel Wiring
2 reports
  Lightning & DC studies

## Slide 27: Our Roles & The Future

Robert Huschak – Report Manager
Justin Fischbach – Test Engineer


Kaitlyn Ziska – Professor Client Liaison

Brian Mace – Chief Engineer

Salvador Salazar – Meeting Facilitator

Brandon Kaas – Scribe